Raingarden tree pit program

Case study

Written for the Urban Water website, 2015

# Table of contents

Table of contents	2

Fast facts	3

Project overview	3

What benefits has the raingarden tree pit program provided?	3

How does the raingarden tree pit system work?	3

Raingarden tree pit program timelines	4

Cost	4

Design challenges and constraints	4

Design evolution	5

Construction	5

Raingarden tree pit components	5

Maintenance	7

Maintenance cost	7

Lessons learnt	7

# Fast facts

Project title: 	Raingarden tree pit program Project description: widespread installation of small raingardens

Purpose: 		To improve stormwater quality, amenity and urban cooling

Completion date: 	Ongoing

Catchment: 		Roadside gutters

Cost:	 		$4000 to $8000 per tree

# Project overview

Raingarden tree pits are specially designed tree planting systems that remove pollution from stormwater before it enters the waterways.

The tree pits are positioned adjacent to the road. They intercept stormwater runoff that would otherwise flow directly into the stormwater drains. This stops pollution and litter from entering our rivers and bays.

We began installing raingarden tree pits in Melbourne in 2006. The tree pits are suitable for our central city because they do not take up much space and can be designed for any streetscape.

In addition to cleaning the water, tree pits also provide passive irrigation for the tree, reducing the need for manual watering.

The City of Melbourne has installed over 200 raingarden tree pits across the city and the program is ongoing.

## What benefits has the raingarden tree pit program provided?

- Removed pollution and litter from stormwater before it reaches the Yarra River.

- Allowed better tree growth, which cools the city with shade and evapotranspiration.

- Improved amenity and liveability.

- Reduced the amount of water needed to support a healthy urban forest.

## How does the raingarden tree pit system work?

Each raingarden tree pit works like a small raingarden. When it rains, stormwater runs off road surfaces and into the gutters.

Raingarden tree pits are set into the kerb and intercept and clean the water before it goes into the drain.

The pit contains layers of substrate that work with the tree’s root system to filter pollution from the stormwater. This includes nitrogen, phosphorus and oils.

Tree pits also include a rock mulch layer to retain moisture in the soil and prevent erosion during rain.

A grate sits around the base of the tree, flush with the pavement. This protects the tree pit from damage and ensures that pedestrians don’t trip over it.

A pipe is located at the bottom of the well. It allows cleaned stormwater to drain back into the drainage system.

#### Did you know?

Raingarden tree pits are designed to collect litter and debris from water before it washes into the drains. Litter at the base of a tree shows that the system is working properly.

## Raingarden tree pit program timelines

We first began installing raingarden tree pits in 2006. The successful program is ongoing.

## Cost

Each raingarden tree pit costs between $4000 and $8000. The price varies depending on the type of design, which is influenced by how busy the street is and the existing infrastructure.  Much of the cost is associated with the tree pit lids, bollards and tree guards.

# Design challenges and constraints

### Competing objectives and uses in city streets

Inner Melbourne is a densely developed area and public spaces must accommodate many different needs. Some considerations in a typical central city street are:

- pedestrian flow

- car parking

- canopy cover for cooling and shade

- amenity

- Melbourne’s character

- public transport

- urban ecology and biodiversity.

Raingarden tree pits work well in the city because they are smaller than standard raingardens. We install them in footpaths to prevent loss of road or car parking spaces.

A single tree is planted in the raingarden, rather than grasses. This is consistent with the iconic style of Melbourne’s streets. Installing trees also helps us meet our target of increasing canopy cover to aid urban cooling.

### Redesigning raingardens for city streets

Typically, raingardens are large garden beds planted with wetland grasses that remove pollution from stormwater.

This type of design is not suitable for inner city streets because there is limited space to install raingardens. In busy streets, normal raingardens present a tripping hazard for pedestrians and can be damaged by vehicles.

Our challenge was to maintain the stormwater cleaning capability of a raingarden, while modifying the design for inner city streets.

#### Tech tip: underground services

A common challenge working in city streets is the presence of underground services, such as fibre-optic, electric and telephone cables, or drainage pipes.

Before we implement tree pits, we have to find out whether or not underground services exist in the area.

We used the Dial Before You Dig service for information on locating underground utilities.

# Design evolution

The tree pit designs have evolved since 2006. The first pit lids had a large, 400 mm diameter hole for the tree trunk. This meant that litter collected in the pit. It was also a trip hazard while the tree was young.

In later designs, we have included tree growth rings. These reduce the hole around the trunk to 100 mm and allow for the rings to be gradually cut away as the trunk grows.

In the municipality of Melbourne we have two preferred standards for tree pit design. Our design for the Docklands area includes wavy tree pit lids and a kerb inlet. For central city areas we prefer bluestone pit lids with a grated pit inlet. The differences in design cater to the different urban design styles and local conditions in these areas.

### Uncovered tree pits

These pits have the same sub-surface structure as the regular raingarden tree pits but there is no grate around the tree base. They are more suitable in suburban areas with less pedestrian traffic. Uncovered tree pits cost less to install than covered tree pits.

# Construction

## Raingarden tree pit components

### Substrate:

Raingarden tree pits contain three layers of drainage substrate: a filtration layer, a transition layer and a drainage layer.

#### Filtration layer:

Purpose: 	this is where all the work happens. This layer filters sediments and larger litter. Phosphorous is absorbed into the filter layer with the sediments. Nitrogen is removed via the plant roots and soil bacteria that exist in the filter media.

Position:	top

Depth:		minimum 450 mm. Depth will vary to suit the depth of the stormwater drain. Hydraulic conductivity: 100 mm per hour
Composition:	80% loamy Sand, 10% vermiculite and 10% perlite, by volume, evenly mixed. A small amount of compost is added to the top 10 cm.

#### Transition layer:

Purpose: 	to prevent fine filter sand entering the drainage layer while facilitating drainage and root growth

Position:	middle

Depth:		100 mm
Composition:	course sand.

#### Drainage layer:

Purpose:	the drainage layer surrounds the drainage pipe. It is free draining and prevents the blocking of the holes in the drainage pipe

Position:	bottom

Depth:		100 mm to 150 mm
Composition:	fine, clean washed gravel (2.5 mm particles).

Tech tip:

The filtration layer components should be mixed on site, using a pitchfork. The filter media should only be minimally compacted where necessary, using hand tools.

### Air void:

The top of the substrate is positioned a minimum of 50 mm below the invert point in the kerb. This air void allows stormwater to gather on top of the substrate before filtering down through the layers. It provides additional treatment within a confined space.

### Trees:

Any tree that grows well in a streetscape setting can be grown in a tree pit, but specific consideration is given to:

- root structure

- local climate conditions

- interaction with surrounding infrastructure – buildings, power lines, footpaths.

A range of tree species have been planted in raingarden tree pits across the central city, including waterhousia, pin oaks, london planes and turkish hazel.

We have carefully chosen tree species that work towards our species diversity and resilience targets. These targets are set out in our Urban Forest Strategy.

### Drainage pipe:

A drainage pipe with slots in it sits in the drainage layer at the bottom of the tree pit. It is connected to the stormwater drain. The pipe allows filtered stormwater to flow to waterways and prevents water logging at the trees roots.

### High flow bypass:

The high flow bypass makes sure that heavy rain flows are safely conveyed to the conventional drainage network. The bypass is provided by side entry pits located downstream of the raingarden tree pits inlets.

Tech tip:

Protection during construction

Excessive sediment load will cause the filter media to clog. Best practice site management during construction is required to minimise the sediment load.

During the construction phase, the raingarden tree pit can be protected with a geotextile layer. This is placed on top of the filter media and then covered by turf.

Once construction is completed the turf can be removed, along with any sediment build up. The tree can then be planted.

# Maintenance

Raingarden tree pits are designed to need minimal maintenance. However to ensure stormwater can flow from the gutter to the tree pit, street sweepers do need access to clean litter from the inlet.

Covering the tree pits with a grate around the base of the tree helps to prevent litter accumulating on the surface of substrate.

Periodic cleaning is required on all tree pits. The amount of cleaning needed depends on the design of the cover and the location of the tree pit.

We clean the pits by hand or use a suction hose to remove any litter and sediment build-up from the top layer of the substrate.

## Maintenance cost

The typical annual maintenance cost of a raingarden tree pit is five to seven per cent of the total construction cost. This equates to between $200 and $560 for each tree pit in the City of Melbourne.

# Lessons learnt

### Consider surrounding stormwater infrastructure

Inlets to the tree pit must not sit above the low point in the gutter, otherwise stormwater bypasses the tree rather than being captured and treated.

If standard stormwater pits exist immediately upstream of the tree pit, they will steal all stormwater before it can enter the tree pits.

### Location and depth of services

Without long negotiations, service authorities general do not allow trees to be planted over utility services.

### Access to drainage pipes

If drainage pipes do not exist, they need to be created. This causes costs to escalate.

Check the design rating requirements of the pit lids. Also consider access for maintenance and eventual removal of the tree.

### Getting your levels right is essential

If the level of the tree pit is even slightly higher than the inlet surface, the water will take the path of least resistance and bypass the tree pit.

### Filter media can be difficult to source. Sandy loam is not the same as loamy sand.

Triple washed sand can be adequate if sufficient nutrients are provided from the catchment runoff. Water Sensitive Urban Design (WSUD) projects are very different to standard road and landscaping construction work. Higher project supervision is often required to ensure the end product functions as intended, particularly if contractors have not undertaken this type of work before.

It is also likely that residents and visitors will be very interested in the project, so provide information on site and advise your contractors on what to say.