Flinders Street Tree Replacement and Passive Irrigation

Case Study

Written for the Urban Water website in 2017

# Table of Contents

Table of Contents	2

Fast facts	3

Project overview	3

How does the system work?	3

Project timeline	4

Cost	4

Planning and design phase	4

System components	5

Lessons learnt	7

# Fast facts

Project title: 		Flinders Street Tree Replacement and Passive Irrigation

Project description: 	Passive irrigation
Purpose: 		Tree health and amenity
Completion date: 	June 2015
Catchment: 		Runoff from Flinders Street 
Cost:  			$500,000

Address:		Flinders Street, Melbourne, Victoria.

# Project overview

Passive irrigation has been incorporated into the redesign of a streetscape to provide water for trees in a changing climate.

As part of the Urban Forest Strategy, Flinders Street was identified as an opportunity for streetscape redesign and replacement of trees. Between Exhibition and Russell Streets several London Plane trees were in poor health as a result of damage from vehicles and needed to be replaced.

To minimise the potential for vehicle damage and allow trees to be planted closer together council took this opportunity to redesign the street. The footpath was widened so that new trees could be planted behind a renewed kerb and channel designed to allow collected stormwater to passively irrigate the trees.

The new streetscape includes soaker pits that capture and drain water into an infiltration trench providing water for the trees.

## What benefits has the stormwater harvesting system provided?

- Healthy trees that cool the city with shade and evapotranspiration

- Reduced the need for drinking quality water required to support a healthy urban forest

- Reduced the volume of polluted stormwater entering the Yarra River

- Passively watering street trees in busy CBD streets & avenues

# How does the system work?

Soaker pits capture water runoff from the road, irrigating the tree, cleaning the water and reducing stormwater runoff volumes. The soaker pits direct water to the subsoil to provide water for the trees along Flinders Street.

When it rains, stormwater runs off roads and roofs into the gutters. The soaker pits act like normal pits and intercept the flow as it travels downhill along the gutter. Unlike normal pits the outlet of the soaker pits is via permeable pavers to an infiltration trench. The permeable pavers act as a gross pollutant trap, capturing litter and other pollutants, preventing polluted stormwater from entering the infiltration trench. The filtered water then travels through a slotted pipe that runs along the bottom of the infiltration trench. Irrigation to the trees is provided via the slotted pipe and structural soil trench.

The soaker pit is best used in streets where there is limited natural water recharge and trees do not have access to water.

A trench of structural soil connects tree plots allowing water to flow through the infiltration trench and provide water for the root balls of the trees.

The slotted pvc pipe also directs water to areas of the infiltration trench with no direct kerb inlet.

# Project timeline

Research and planning		July 2013 – December 2013

Concept designs 			December 2013 – October 2014

Consultation				November 2014

Construction 				June 2015

# Cost

The Flinders Street Tree Soaker Pits were part of broader streetscape redevelopment that cost a total of $500,000. Soaker pits cost $2000 each and $1800 to install.

# Planning and design phase

## Research and planning

The following tasks were completed during the research and planning phase of the project.

Traffic and parking study

A traffic and parking study was carried out to determine the impacts of widening the footpath and planting trees back behind the kerb on traffic in and around Flinders Street.

Concept designs

Concept designs were developed in consultation with Yarra Trams to allow for the best scenario outcome for all the competing uses, including pedestrian flow, car parking, public transport, traffic, amenity, canopy cover for cooling and shading, and urban ecology and biodiversity.

Community Consultation

Yarra Trams consulted broadly on the tram and traffic works. We then consulted nearby businesses about the tree replacements and footpath widening.

## Design challenges and constraints

Competing objectives and uses in city streets

Inner Melbourne is a densely developed area and public spaces, such as streets, must accommodate many different needs. For example, some of the considerations in a typical CBD street are:

- Pedestrian flow

- Car parking

- Cooling and shade (canopy cover)

- Amenity

- Melbourne character

- Public transport

- Urban ecology and biodiversity

Replanting the trees into the widened footpath not only helps protect the trees from vehicle damage but also provides shade across the footpath and carriageway without blocking access and visibility.

# System components

Soaker pit
Several soaker pits are built into the kerb to allow water to reach the infiltration trench and tree plots.

Stormwater runs into the pit through a grated lid and permeable paver filter before entering a pipe that directs water to the infiltration trench. This prevents litter and other gross pollutants from entering the drainage pipe.

The water then flows through a drainage pipe infiltrating the trench and tree plots with water.

Infiltration trench
An infiltration trench was built along the southern side of Flinders Street, beneath the footpath. Water runoff is directed into the trenches, providing water for the tree root system.

Stormwater flows into the soaker pit and through an irrigation drain that runs along the length of the structural soil trench.

Sedimentation chamber

The sedimentation chamber is located directly next to the GPT. It allows suspended particles of pollution - fine sands, sediments, oils and hydrocarbons - to settle to the bottom or float to the surface.

The chamber is made of 250 mm thick concrete and was lowered into place using a crane. Like the GPT, it is located before the pumps to protect the pump impellers.

The sedimentation chamber is cleaned out with a suction hose when the depth of sediment measures 0.5 metres.

Structural soil

Position:	fills the entire trench

Purpose: 	Provides aeration, retains water, is suitable for tree growth and can withstand traffic loads while maintaining structural integrity.

Dimensions:	each trench is 600 mm deep, 1.2 metres wide
Composition:	20-40mm aggregate coated with soil to specification.

Drainage pipe

Purpose:	Slotted PVC drainage pipe runs from the soaker pit to the trench, allowing water to infiltrate the structural soil

Depth:		600 mm

Size:		100 mm diameter

Lining

Type:		Non-woven geotextile

Purpose:	The infiltration trenches are lined with geotextile to encourage tree roots to grow within the trench and to contain the structural soil.

Trees

Species

Corymbia citriodora – lemon scented gum

We planted 17 lemon scented gums as they grow well in open spaces.  The tree plots were built into the irrigation trench. The tree plot is filled with compacted soil to a depth of 400mm and covered by 50mm of granitic sand. Below the tree plot is 200mm of structural soil allowing room for the drainage pipe which provides water for the tree root system.

Water irrigation service:

An automated irrigation service is installed to each tree plot providing a secondary source of water for the trees.

# Lessons learnt

Permeable paver filter clogged relatively quickly requiring pressure wash cleaning. An alternative may be a 5mm mesh filter in the pit with a secondary sediment and fine mesh filter between the pit and the infiltration trench. All systems will require sediment management and regular cleaning.

Structural soils are significantly cheaper than using structural cells with a loamy sand soil, the latter is preferred by the tree planners. Structural soils are preferable to planting into ‘normal soil’.

Incorporating water inflow monitoring would provide useful data for future projects to build a business case for these sorts of interventions.

The success of this project together with lessons gathered from it has meant that the specifications for this work are now used for similar projects across the city.